## Feuil1
Sample ID | Mineralogy | Formula | Location | Sample type | Matrice | Analysis point | Number of spectra | Total | Handheld LIBS analyzer
Albite_GeoR | Albite | Na(AlSi3O8) |  | Crystal | No | 6 | 92 | 356 | Model = SciAps Z300 / Spectral interval = [190-950 nm] / Frequency = 10 Hz / Cleaning shots = 1 / Shots per location = 2-4
ab_LIEC | Albite |  |  | Powder | No | 5 | 80
ab_wards | Albite |  |  | Powder | No | 5 | 80
Albite_CE | Albite |  |  | Crystal | No | 4 | 64
albite_grece | Albite |  | Greece | Crystal | No | 4 | 40
Amblygonite_GeoR | Amblygonite | (Li,Na)Al(PO4)(F,OH) |  | Crystal | No | 6 | 96 | 96
antimoine | Stibnite | Sb2S3 | Greece | Rock |  | 1 | 10 | 10
Apatite_GeoR_jaune | Apatite | Ca5(PO4)3(Cl/F/OH) |  | Crystal | No | 6 | 96 | 368
Apatite_ChristopheB | Apatite |  |  | Crystal | No | 5 | 71
apt_paimpol_pe | Apatite |  |  | Powder | No | 5 | 74
Fluorapatite_CE_sample1 | F-Apatite |  |  | Crystal | No | 4 | 63
Apatite_CE_sample2 | Apatite |  |  | Crystal | No | 4 | 64
apophyllite | Apophyllite | KCa4(Si4O10)2F8(H2O) | Greece | Rock |  | 5 | 46 | 46
aragonite | Aragonite | CaCO3 | Greece | Crystal | No | 7 | 49 | 49
Arsenopyrite_GeoR | Arsenopyrite | FeAsS |  | Crystal | No | 6 | 96 | 304
Arsenopyrite_CE_sample1 | Arsenopyrite |  |  | Crystal | No | 4 | 64
Arsenopyrite_CE_sample2 | Arsenopyrite |  |  | Crystal | No | 4 | 64
Arsenopyrite_ENSG_panaquera | Arsenopyrite |  |  | Crystal | No | 5 | 80
baryte | Baryte | BaSO4 | Greece | Rock |  | 6 | 60 | 60
Beryl_GeoR | Beryl | Be3Al2(Si6O18) |  | Crystal | No | 6 | 96 | 192
Emeraude_GeoR | Beryl |  |  | Crystal | No | 6 | 96
calcite | Calcite | CaCO3 | Greece | Crystal | No | 6 | 48 | 97
calcite_2 | Calcite |  | Greece | Crystal | No | 5 | 49
Cassiterite_GeoR_Zamora | Cassiterite | SnO2 |  | Crystal | No | 6 | 96 | 486
Cassiterite_ENSG_russie | Cassiterite |  |  | Crystal | No | 5 | 78
Cassiterite_etaindebois_CE_ | Cassiterite |  |  | Crystal | No | 4 | 63
Cassiterite_yankee_PatrickC | Cassiterite |  |  | Crystal | No | 5 | 121
Cassiterite_CE_sample1 | Cassiterite |  |  | Crystal | No | 4 | 64
Cassiterite_CE_sample2 | Cassiterite |  |  | Crystal | No | 4 | 64
Chalcopyrite_CE | Chalcopyrite | CuFeS2 |  | Crystal | No | 4 | 64 | 363
Chalcopyrite_CE_sample2 | Chalcopyrite |  |  | Crystal | No | 4 | 64
cp-as-s | Chalcopyrite |  |  | Powder | No | 5 | 78
cp-marion-pe | Chalcopyrite |  |  | Powder | No | 5 | 77
cp-wards | Chalcopyrite |  |  | Powder | No | 5 | 80
chl-cs16 | Chlorite | A5-6T4Z18 / A = Al, Fe, Li, Mg, Mn, Ni / T = Al, Fe, Si / Z = O, OH |  | Powder | No | 5 | 80 | 223
chl-mg | Chlorite |  |  | Powder | No | 5 | 79
Chlorite_CE | Chlorite |  |  | Crystal | No | 4 | 64
chromite | Chromite | FeCr2O4 | Greece | Crystal | No | 4 | 40 | 40
Columbite_CM_256 | Columbite | FeNb2O6 to MnNb2O6 |  | Crystal | No | 6 | 96 | 96
cuivre_natif | Cupper | Cu | Greece | Rock |  | 3 | 30 | 30
disthene | Kyanite | Al2SiO5 | Greece | Crystal | No | 4 | 40 | 40
dolomite | Dolomite | CaMg(CO3)2 | Greece | Crystal | No | 4 | 40 | 40
Fluorite_GeoR_vert | Fluorite | CaF2 |  | Crystal | No | 6 | 96 | 731
Fluorite_GeoR_violet | Fluorite |  |  | Crystal | No | 6 | 96
Fluorite_Mattieu laz | Fluorite |  |  | Crystal | No | 4 | 86
Fluo_CE_sample1 | Fluorite |  |  | Crystal | No | 4 | 64
Fluo_CE_sample2 | Fluorite |  |  | Crystal | No | 4 | 64
Fluo_CE_sample3 | Fluorite |  |  | Crystal | No | 4 | 62
Fluo_CE_sample4 | Fluorite |  |  | Crystal | No | 4 | 64
Fluorite_ENSG | Fluorite |  |  | Crystal | No | 5 | 80
fluorite_grece | Fluorite |  | Greece | Crystal | No | 4 | 40
fluorite_marron | Fluorite |  | Greece | Crystal | No | 4 | 39
fluorite_verte | Fluorite |  | Greece | Crystal | No | 4 | 40
galene_grece | Galena | PbS | Greece | Crystal | No | 3 | 29 | 29
grenat_clair | Garnet | X3Z2(SiO4)3 / X = Mg, Ca, Fe, Mn / Z = Al, Fe, Cr, V | Greece | Crystal | No | 4 | 40 | 160
grenat_marron | Garnet |  | Greece | Crystal | No | 4 | 40
grenat_marron_2 | Garnet |  | Greece | Crystal | No | 4 | 40
grenat_marron_3 | Garnet |  | Greece | Crystal | No | 4 | 40
gypse | Gypsum | Ca(SO4)2(H2O) | Greece | Crystal | No | 7 | 50 | 50
Hematite_CE_sample1 | Hematite | Fe2O3 |  | Crystal | No | 4 | 62 | 317
Hematite_CE_sample2 | Hematite |  |  | Crystal | No | 4 | 63
Hematite_CE_sample3 | Hematite |  |  | Crystal | No | 4 | 64
Hematite_ENSG | Hematite |  |  | Crystal | No | 5 | 80
Hematite_marie-camille | Hematite |  |  | Crystal | No | 3 | 48
ilt-i77 | Illite | (K,H₃O)Al₂Si₄O₁₀(OH)₂ |  | Powder |  | 5 | 80 | 80
Ilmenite_ENSG_frag3 | Ilmenite | FeTiO3 |  | Crystal | No | 4 | 109 | 109
kaolinite_grece | Kaolinite | Al2Si2O5(OH)4 | Greece | Crystal | No | 4 | 40 | 40
disthene_grece | Kyanite | Al2SiO5 | Greece | Crystal | No | 4 | 40 | 40
Microcline_GeoR_blanc | K-feldspar | KAlSi3O8 |  | Crystal | No | 6 | 96 | 592
Microcline_GeoR_Amazonite | K-feldspar |  |  | Crystal | No | 6 | 96
Orthose_GeoR | K-feldspar |  |  | Crystal | No | 6 | 96
Orthose_GeoR_blanche | K-feldspar |  |  | Crystal | No | 6 | 96
Orthose_CE | K-feldspar |  |  | Crystal | No | 4 | 64
Orthose_CE_sample2 | K-feldspar |  |  | Crystal | No | 4 | 64
or-wards | K-feldspar |  |  | Powder | No | 5 | 80
magnesite | Magnesite | MgCO3 | Greece | Crystal | No | 4 | 40 | 40
magnetite | Magnetite | Fe2+Fe3+2O4 | Greece | Rock |  | 1 | 10 | 10
malachite | Malachite | Cu2(CO3)(OH)2 | Greece | Rock |  | 2 | 20 | 20
Fe-Biotite_christopheB | Mg-Fe-micas | K(Fe2+/Mg)2(Al/Fe3+/Mg/Ti)([Si/Al/Fe]2Si2O10)(OH/F)2 |  | Crystal | No | 3 | 48 | 207
Biotite_CE_sample1 | Mg-micas |  |  | Crystal | No | 4 | 64
Biotite_marie-camille | Mg-micas |  |  | Crystal | No | 3 | 47
phlogopite_ChristopheB | Mg-micas |  |  | Crystal | No | 3 | 48
ms-1 | Muscovite | KAl2(AlSi3O10)(OH)2 |  | Powder | No | 5 | 80 | 272
mus_LIEC | Muscovite |  |  | Powder | No | 5 | 80
Muscovite_marie-camille_1 | Muscovite |  |  | Crystal | No | 1 | 16
18-30-46b - zone 2 | Muscovite |  |  | Rock |  | 1 | 16
ilt-i77 | Muscovite |  |  | Rock |  | 5 | 80
Zinnewaldite_JC | Fe-Li-micas | KFe2Al(Al2Si2O10)(OH)2 to KLi2Al(Si4O10)(F,OH)2 | Germany | Crystal | No | 3 | 48 | 128
Zinnewaldite_NEO | Fe-Li-micas |  | Germany | Crystal | No | 3 | 48
Zinnwaldite_JeanC_1 | Fe-Li-micas |  |  | Crystal | No | 1 | 16
Zinnwaldite_JeanC_2 | Fe-Li-micas |  |  | Crystal | No | 1 | 16
Lep_GeoR | Li-micas | KLi2Al(Si4O10)(F,OH)2 to K(Li1.5Al1.5)(AlSi3O10)(F,OH)2 |  | Crystal | No | 6 | 96 | 2550
Lepidolite_ChristopheB | Li-micas |  | France | Crystal | No | 3 | 78
Li_Lep_Si_CHED18 | Li-micas |  | France | Rock | Granite | 6 | 109
Li_Lep_Si_KOK18_4a | Li-micas |  | France | Rock | Granite | 6 | 111
Li_Lep_Si_P017 | Li-micas |  | France | Rock | Granite | 6 | 112
lepidolite_grece | Li-micas |  | Greece | Crystal | No | 4 | 40
Calibration_RH_NEO_BB-7-6-maine | Li-micas |  | USA | Crystal | No | 4 | 37
Calibration_RH_NEO_bennett-71-maine | Li-micas |  | USA | Crystal | No | 4 | 112
Calibration_RH_NEO_Brown-derby-colorado | Li-micas |  | USA | Crystal | No | 4 | 148
Calibration_RH_NEO_Emmons-12-maine | Li-micas |  | USA | Crystal | No | 4 | 146
Calibration_RH_NEO_Emmons-21-maine | Li-micas |  | USA | Crystal | No | 4 | 114
Calibration_RH_NEO_GE3-9-maine | Li-micas |  | USA | Crystal | No | 4 | 111
Calibration_RH_NEO_Grosmont australia | Li-micas |  | Australia | Crystal | No | 4 | 148
Calibration_RH_NEO_Hibbs-4-maine | Li-micas |  | USA | Crystal | No | 4 | 148
Calibration_RH_NEO_Hoydalen norway | Li-micas |  | Norway | Crystal | No | 4 | 148
Calibration_RH_NEO_Lord hill-18-maine | Li-micas |  | USA | Crystal | No | 4 | 147
Calibration_RH_NEO_Mt marie - 15-maine | Li-micas |  | USA | Crystal | No | 4 | 148
Calibration_RH_NEO_Mt micas-11-maine | Li-micas |  | USA | Crystal | No | 4 | 148
Calibration_RH_NEO_Mt-micas-56-maine | Li-micas |  | USA | Crystal | No | 4 | 112
Calibration_RH_NEO_Vitaneimi finland | Li-micas |  | Finland | Crystal | No | 4 | 148
Calibration_RH_NEO_Willis-2-maine | Li-micas |  | USA | Crystal | No | 4 | 78
Calibration_RH_NEO_Willis-7-maine | Li-micas |  | USA | Crystal | No | 4 | 111
molybdenite_grece | Molybdenite | MoS2 | Greece | Rock |  | 4 | 40 | 145
Molybdenite_CE | Molybdenite |  |  | Crystal | No | 6 | 93
Molybdenite_CE_sample1 | Molybdenite |  |  | Rock |  | 1 | 12
py-wards | Pyrite | FeS2 |  | Powder | No | 5 | 80 | 248
Pyrite_grece | Pyrite |  | Greece | Rock |  | 4 | 40
Marcasite_CE | Pyrite |  |  | Crystal | No | 4 | 64
Pyrite_CE | Pyrite |  |  | Crystal | No | 4 | 64
pyrrholite_grece | Pyrrholite | Fe7S8 | Greece | Rock |  | 5 | 50 | 50
Amethyste_GeoR | Quartz | SiO2 |  | Crystal | No | 6 | 96 | 349
qtz-greece | Quartz |  |  | Powder | No | 5 | 80
qtz-wards | Quartz |  |  | Powder | No | 5 | 80
Qtz | Quartz |  | Greece | Crystal | No | 4 | 40
Quartz | Quartz |  | Greece | Crystal | No | 4 | 39
SF39_1_Qtz | Quartz |  | Spain | Rock | Gneiss | 1 | 8
SF39_3_Qtz | Quartz |  | Spain | Rock | Gneiss | 1 | 2
SF40_Qtz | Quartz |  | Spain | Rock | Gneiss | 1 | 4
rhodocrosite_grece | Rhodocrosite | MnCO₃ | Greece | Crystal | No | 4 | 40 | 40
Rutile_CE_sample1 | Rutile | TiO2 |  | Crystal | No | 4 | 64 | 266
Rutile_CE_sample2 | Rutile |  |  | Crystal | No | 4 | 62
Rutile_CE_sample3 | Rutile |  |  | Crystal | No | 4 | 63
Rutile_marie-camille | Rutile |  |  | Crystal | No | 3 | 77
serpentinite_grece | Serpentinite | (Mg,Fe)₃Si₂O₅(OH)₄ | Greece | Rock |  | 4 | 40 | 40
soufre_grece | Soufre | S | Greece | Rock |  | 1 | 10 | 10
Sphalerite_GeoR_crystal | Sphalerite | (Zn,Fe)S |  | Crystal | No | 6 | 96 | 534
sph-1-pe | Sphalerite |  |  | Powder | No | 5 | 74
sph-2-pe | Sphalerite |  |  | Powder | No | 5 | 75
Sphalerite_Maxime_sampleESP2 | Sphalerite |  |  | Crystal | No | 2 | 12
sph-SFr | Sphalerite |  |  | Powder | No | 5 | 80
sphalerite_grece | Sphalerite |  | Greece | Rock |  | 4 | 40
sph-wards | Sphalerite |  |  | Powder |  | 5 | 80
sph-paimpol-pe | Sphalerite |  |  | Powder |  | 5 | 77
spodumene_2_afy | Spodumene | LiAlSi2O6 |  | Crystal | No | 2 | 32 | 32
Spodumene_ChristopheB | Spodumene |  |  | Crystal | No | 3 | 93 | 93
Stannite_GeoR | Stannite | (Mn,Fe)(Ta,Nb)2O6 |  | Crystal | No | 6 | 96 | 96
talc_grece | Talc | Mg₃Si₄O₁₀(OH)₂ | Greece | Rock |  | 4 | 40 | 40
Tantalite_CM_255 | Tantalite | (Fe, Mg, Mn)Ta2O6 |  | Crystal | No | 6 | 96 | 96
Topaze_GeoR | Topaze | Al₂SiO₄(F,OH)₂ |  | Crystal | No | 5 | 44 | 44
Tourmaline_anne-sylvie | Tourmaline | AD3G6 (T6O18)(BO3)3X3Z / A = Ca, Na, K, Pb / D = Al, Fe, Li, Mg, Mn, Ti / G = Al, Cr, Fe, V / T = Si, Al / X = O, OH / Z = F, O, OH |  | Crystal | No | 3 | 21 | 709
Tourmaline_CE_Sample1 | Tourmaline |  |  | Crystal | No | 4 | 64
Tourmaline_CE_Sample2 | Tourmaline |  |  | Crystal | No | 4 | 63
Tourmaline_CE_Sample3 | Tourmaline |  |  | Crystal | No | 4 | 64
Tourmaline_CE_Sample4 | Tourmaline |  |  | Crystal | No | 4 | 63
Tourmaline_CE_Sample5 | Tourmaline |  |  | Crystal | No | 4 | 64
Tourmaline_ChristopheB | Tourmaline |  |  | Crystal | No | 3 | 79
Tourmaline_ChristopheB_sample2 | Tourmaline |  |  | Crystal | No | 3 | 124
Tourmaline_ChristopheB_sample3 | Tourmaline |  |  | Crystal | No | 3 | 48
Tourmaline_ENSG_Namibie | Tourmaline |  |  | Crystal | No | 5 | 80
tourmaline_grece | Tourmaline |  | Greece | Crystal | No | 4 | 39
vermiculite_grece | Vermiculite | (Mg,Fe,Al)₃(Al,Si)₄O₁₀(OH)₂4H₂O | Greece | Rock |  | 4 | 40 | 40
vesuvianite_grece | Vesuvianite | Ca₁₀Al₄(SiO₄)₅(OH)₄ | Greece | Rock |  | 4 | 40 | 40
Wolf_Hubnerite_CE_sample3 | Wolframite | (Mn, Fe)WO4 |  | Crystal | No | 4 | 63 | 429
Wolf3_LCP_patrickC | Wolframite |  |  | Crystal | No | 6 | 96
Wolf4_MS_patrickC | Wolframite |  |  | Crystal | No | 3 | 63
Wolframite_CE_sample1 | Wolframite |  |  | Crystal | No | 4 | 64
Wolframite_CE_sample2 | Wolframite |  |  | Crystal | No | 4 | 64
Wolframite_ENSG | Wolframite |  |  | Crystal | No | 4 | 79
wollastonite_grece | Wollastonite | CaSiO₃ | Greece | Rock |  | 4 | 40 | 40
Zircon_geoR | Zircon | ZrSiO₄ |  | Crystal | No | 6 | 96 | 96